## bee bread
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | [5 empty] | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | [5 empty] | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [14 empty] | BB1 | BB2 | BB3 | BB4 | BB5 | BBC | [8 empty] | Montesinho (BB2), Rio de Onor (BB3), Vinhais (BB4), and Castrelos (BB5); commercial sample (BBC) | 2012 |  | Sobral et al., 2017. Molecules, 22, 248.
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids (C6-C3-C6) | Flavan-3-ols
Flavones
| Flavonols | Acetyl isorhamnetin-O-hexoside | 356 |  |  |  |  | 519 | [6 empty] | 315 (100) | 197 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Acetyl kaempferol-O-deoxyhexosyl-hexoside | 350 |  |  |  |  | 635 | [6 empty] | 285 (100) | nd | nd | 20 µg/g of hydromethanolic extract | nd | 11µg/g of hydromethanolic extract | nd
|  | Acetyl kaempferol-O-hexoside | 350 |  |  |  |  | 489 | [6 empty] | 285 (100) | nd | nd | nd | nd | nd | 22µg/g of hydromethanolic extract
|  | Isorhamnetin-O-hexosyl-O-rutinoside | 350 |  |  |  |  | 785 | [6 empty] | 623 (100), 477 (16), 315 (30) | 2615 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Isorhamnetin-O-hexosyl-rutinoside | 354 |  |  |  |  | 785 | [6 empty] | 315 (100) | nd | 103 µg/g of hydromethanolic extract | nd | 43 µg/g of hydromethanolic extract | nd | nd
|  | Isorhamnetin-O-pentosyl-hexoside | 356 |  |  |  |  | 609 | [6 empty] | 315 (100) | 1448 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Isorhamnetin-O-pentosyl-hexoside | 354 |  |  |  |  | 609 | [6 empty] | 315 (100) | 94 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Isorhamnetin-O-pentosyl-hexoside | 536 |  |  |  |  | 609 | [6 empty] | 315 (100) | 30 µg/g of hydromethanolic extract | nd | 47 µg/g of hydromethanolic extract | nd | nd | nd
|  | Isorhamnetin-3-O-glucoside | 356 |  |  |  |  | 477 | [6 empty] | 315 (100) | 140 µg/g of hydromethanolic extract | nd | 199 µg/g of hydromethanolic extract | nd | 118 µg/g of hydromethanolic extract | 64 µg/g of hydromethanolic extract
|  | Isorhamnetin-3-O-rhamnoside | 350 |  |  |  |  | 461 | [6 empty] | 315 (100) | nd | 73 µg/g of hydromethanolic extract | 670 µg/g of hydromethanolic extract | nd | 232 µg/g of hydromethanolic extract | nd
|  | Isorhamnetin-3-O-rutinoside | 356 |  |  |  |  | 623 | [6 empty] | 315 (100) | 836 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Kaempferol-3-O-rhamnoside | 346 |  |  |  |  | 431 | [6 empty] | 285 (100) | nd | nd | 141 µg/g of hydromethanolic extract | nd | 29 µg/g of hydromethanolic extract | nd
|  | Kaempferol-3-O-rutinoside | 348 |  |  |  |  | 593 | [6 empty] | 285 (100) | 62 µg/g of hydromethanolic extract | 94 µg/g of hydromethanolic extract | 355 µg/g of hydromethanolic extract | 56 µg/g of hydromethanolic extract | 815 µg/g of hydromethanolic extract | 1627 µg/g of hydromethanolic extract
|  | Kaempferol-O-dihexoside | 348 |  |  |  |  | 609 | [6 empty] | 285 (100) | nd | 91 µg/g of hydromethanolic extract | 246 µg/g of hydromethanolic extract | 83 µg/g of hydromethanolic extract | 108 µg/g of hydromethanolic extract | 1167 µg/g of hydromethanolic extract
|  | Kaempferol-O-hexosyl-O-rutinoside | 346 |  |  |  |  | 755 | [6 empty] | 593 (100), 447 (21), 285 (34) | 69 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Kaempferol-O-hexosyl-rutinoside | 350 |  |  |  |  | 755 | [6 empty] | 285 (100) | 212 µg/g of hydromethanolic extract | 3597 µg/g of hydromethanolic extract | 403 µg/g of hydromethanolic extract | 3755 µg/g of hydromethanolic extract | nd | 130 µg/g of hydromethanolic extract
|  | Kaempferol-O-pentosyl-deoxyhexoside | 348 |  |  |  |  | 563 | [6 empty] | 285 (100) | 82 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Laricitrin-3-O-rhamnoside | 356 |  |  |  |  | 477 | [6 empty] | 331 (19), 315 (32) | nd | nd | 125 µg/g of hydromethanolic extract | nd | nd | nd
|  | Methyl herbacetrin-3-O-glucoside | 346 |  |  |  |  | 477 | [6 empty] | 315 (50), 300 (33) | tr | 32 µg/g of hydromethanolic extract | 53 µg/g of hydromethanolic extract | 224 µg/g of hydromethanolic extract | 138 µg/g of hydromethanolic extract | nd
|  | Methyl herbacetrin-3-O-rutinoside | 352 |  |  |  |  | 623 | [6 empty] | 315 (36), 300 (22) | 186 µg/g of hydromethanolic extract | nd | 71 µg/g of hydromethanolic extract | 435 µg/g of hydromethanolic extract | 225 µg/g of hydromethanolic extract | nd
|  | Methyl herbacetrin-O-dihexoside | 350 |  |  |  |  | 639 | [6 empty] | 315 (18), 300 (21) | nd | 622 µg/g of hydromethanolic extract | 70 µg/g of hydromethanolic extract | 460 µg/g of hydromethanolic extract | 192 µg/g of hydromethanolic extract | nd
|  | Methyl herbacetrin-O-dihexoside | 350 |  |  |  |  | 639 | [6 empty] | 315 (29), 300 (14) | nd | nd | 39 µg/g of hydromethanolic extract | 164 µg/g of hydromethanolic extract | 268 µg/g of hydromethanolic extract | 105 µg/g of hydromethanolic extract
|  | Methyl herbacetrin-O-hexosyl-rutinoside | 350 |  |  |  |  | 785 | [6 empty] | 315 (32), 300 (20) | nd | nd | nd | nd | 217 µg/g of hydromethanolic extract | nd
|  | Myricetin-3-O-glucoside | 354 |  |  |  |  | 479 | [6 empty] | 317 (100) | nd | nd | 36 µg/g of hydromethanolic extract | nd | nd | nd
|  | Myricetin-3-O-rutinoside | 358 |  |  |  |  | 625 | [6 empty] | 317 (100) | 41 µg/g of hydromethanolic extract | nd | 322 µg/g of hydromethanolic extract | nd | 38 µg/g of hydromethanolic extract | 118 µg/g of hydromethanolic extract
|  | Quercetin-3-O-glucoside | 356 |  |  |  |  | 463 | [6 empty] | 301 (100) | 248 µg/g of hydromethanolic extract | 52 µg/g of hydromethanolic extract | 236 µg/g of hydromethanolic extract | 53 µg/g of hydromethanolic extract | 177 µg/g of hydromethanolic extract | 72 µg/g of hydromethanolic extract
|  | Quercetin-3-O-rhamnoside | 350 |  |  |  |  | 447 | [6 empty] | 301 (100) | tr | 280 µg/g of hydromethanolic extract | 3029 µg/g of hydromethanolic extract | 168 µg/g of hydromethanolic extract | 2001 µg/g of hydromethanolic extract | 190 µg/g of hydromethanolic extract
|  | Quercetin 3-O-rutinoside | 358 |  |  |  |  | 609 | [6 empty] | 301 (100) | 158 µg/g of hydromethanolic extract | 88 µg/g of hydromethanolic extract | 312 µg/g of hydromethanolic extract | 105 µg/g of hydromethanolic extract | 91 µg/g of hydromethanolic extract | 377 µg/g of hydromethanolic extract\
|  | Quercetin-O-hexosyl-O-hexoside | 350 |  |  |  |  | 625 | [6 empty] | 463 (100), 301 (48) | 129 µg/g of hydromethanolic extract | 211 µg/g of hydromethanolic extract | nd | 127 µg/g of hydromethanolic extract | 74 µg/g of hydromethanolic extract | 1580 µg/g of hydromethanolic extract
|  | Quercetin-O-hexosyl-O-rutinoside | 350 |  |  |  |  | 771 | [6 empty] | 609 (100), 463 (9), 301 (23) | 156 µg/g of hydromethanolic extract | nd | nd | nd | nd | nd
|  | Quercetin-O-hexosyl-rutinoside | 356 |  |  |  |  | 771 | [6 empty] | 301 (100) | nd | 314 µg/g of hydromethanolic extract | 106 µg/g of hydromethanolic extract | 367 µg/g of hydromethanolic extract | nd | nd
|  | Quercetin-O-pentosyl-hexoside | 358 |  |  |  |  | 595 | [6 empty] | 301 (100) | 100 µg/g of hydromethanolic extract | nd | nd | nd | nd | 139 µg/g of hydromethanolic extract
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Bryonia dioica
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | HPLC-DAD-ESI/MS |  |  |  | Bragança, North-eastern Portugal | 2009 early spring | young stems that sprout from the underground rhizome, more or less 20 cm long | Barros et al., 2011. Food Chemistry, 127, 169-173.
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids (C6-C3-C6) | Flavan-3-ols
| Flavones | Apigenin-6-C-glucoside | 336 |  |  |  |  | 431 | [6 empty] | 413(13),341(48),311(100) | 318.4 mg/Kg, fresh weight
|  | Apigenin-6-C-glucoside-7-O-glucoside | 336 |  |  |  |  | 593 | [6 empty] | 431(100),341(10),311(41) | 1551.7 mg/Kg, fresh weight
|  | Apigenin-C-hexoside-O-rhamnosyl–hexoside | 332 |  |  |  |  | 739 | [6 empty] | 431(100),341(9),311(32) | 24.9 mg/Kg, fresh weight
|  | Luteolin-6-C-glucoside | 350 |  |  |  |  | 447 | [6 empty] | 429(34),357(100),327(80) | 279.0 mg/Kg, fresh weight
|  | Luteolin-6-C-glucoside-7-O-glucoside | 348 |  |  |  |  | 609 | [6 empty] | 447(100),357(6),327(24) | 155.9 mg/Kg, fresh weight
| Flavonols | Kaempferol 3,7-di-O-rhamnoside | 346 |  |  |  |  | 577 | [6 empty] | 431(100),285(26) | 82.6 mg/Kg, fresh weight
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Brassica oleracea L.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | The HPLC system was equipped with an Agilent 1100 series diode array detector and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser, and a G1315B photodiode array detector controlled by ChemStation software (v. 08.03). The mass detector was an Agilent G2445A ion trap mass spectrometer equipped with an electrospray ionization (ESI) system and controlled by LCMSD software (v. 4.1). Nitrogen was used as nebulizing gas at a pressure of 65 psi, and the flow was adjusted to 11 L/min. | The heated capillary and voltage were maintained at 350 °C and 4 kV, respectively. Collision induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 to 2 V. | Negative mode
| Hydroxycinnamic acids (C6-C3) and derivatives | 1,2-Disinapoylgentiobioside |  |  | 754 |  |  | 753.6 | [6 empty] | MS2: 529 (100), 223 (14); MS3: 223 (100) | [8 empty] | costata DC | Valbom dos Figos-Mirandela, northeastern Portugal | Oct 2002 - Jan 2003 | external leaves | J. Agric. Food Chem. 2005, 53, 2901-2907
|  | Isomer of 1,2-disinapoylgentiobioside |  |  | 754 |  |  | 753.4 | [6 empty] | MS2: 529 (100), 223 (5); MS3: 223 (51), 205 (100) | [10 empty] | Oct 2004 | internal leaves | European Food Research and Technology, 222(1-2), pp. 88-98 (2006)
|  | Isomer of 1,2-disinapoylgentiobioside |  |  | 754 |  |  | 753.4 | [6 empty] | MS2: 529 (100), 223 (6); MS3: 223 (100)
|  | 1-Sinapoyl-2-feruloylgentiobiose |  |  | 724 |  |  | 723.5 | [6 empty] | MS2: 529 8169, 499 (100); MS3: 223 (12), 205 (100), 193 (100), 175 (77)
|  | 1,2,2' -trisinapoylgentiobiose |  |  | 960 |  |  | 959.4 | [6 empty] | MS2: 735 (100), 529 (12); MS3 (735): 529 (25), 511 (12), 205 (100); MS3 (529): 223 (100), 205 (56)
|  | 1,2 -disinapoyl-2-feruloylgentiobiose |  |  | 930 |  |  | 929.4 | [6 empty] | MS2: 735 (16), 705 (100), MS3 (735): 511 (66), 499 (100), 223 (45); MS3 (705): 511 (46), 499 (100)
|  | Sinapoylgentiobiose |  |  | 548 |  |  | 547 | [6 empty] | MS2: 529 (100), 247 (50), 223 (4)
|  | Sinapoylgentiobiose isomer |  |  | 548 |  |  | 547 | [6 empty] | MS2: 529 (100), 247 (60), 223 (12)
|  | 1-Sinapoylglucose isomer |  |  | 386 |  |  | 385 | [6 empty] | MS2: 367 (17), 247 (100), 223 (2)
|  | 1-Sinapoylglucose isomer |  |  | 386 |  |  | 385 | [6 empty] | MS2: 367 (14), 247 (100), 223 (3)
|  | 1-Sinapoylglucose |  |  | 386 |  |  | 385 | [6 empty] | MS2: 247 (50), 223 (100), 205 (30)
|  | diferuloyl-gentiobioside | 329 | 301sh, 329 | 694 |  |  | 693 | [6 empty] | MS2: 499 (100), 193 (7); MS3: 193 (44), 175 (100) | [8 empty] | acephala | Bragança, Northeast Portugal, |  | leaves | Food and Chemical Toxicology 47 (2009) 1209–1220
|  | 3-Caffeoylquinic acid | 325 | 325, 300sh | 354 |  |  | 353 | [6 empty] | MS2: 191 (100), 179 (39) | [8 empty] | costata DC |  |  | in vitro shoots | Combinatorial Chemistry & High Throughput Screening, 2009, 12, 230-240
|  | 3-p-Coumaroylquinic acid | 311 | 311 | 338 |  |  | 337 | [6 empty] | MS2: 191 (6), 163 (100)
|  | 3-Feruloylquinic acid |  |  | 368 |  |  | 367 | [6 empty] | MS2: 193 (100)
|  | 4-Caffeoylquinic acid |  |  | 354 |  |  | 353 | [6 empty] | MS2: 191 (42), 179 (70), 173 (100)
|  | 4-p-Coumaroylquinic acid |  |  | 338 |  |  | 337 | [6 empty] | MS2: 173 (100)
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
Flavones
| Flavonols | Kaempferol-3-O-tetraglcucoside-7-O-sophoroside |  |  | 1258 |  |  | 1257 | [6 empty] | 933 (100), 771 (12), 609 (35), 285 (100) | [8 empty] | costata DC | Valbom dos Figos-Mirandela, northeastern Portugal | Oct 2002 - Jan 2003 | external leaves | J. Agric. Food Chem. 2005, 53, 2901-2907
|  | Kaempferol-3-O-sophorotrioside-7-O-glucoside |  |  | 934 |  |  | 933 | [6 empty] | 771 (100), 609 (100), 429 (72), 285 (39)
|  | Kaempferol-3-O-sophorotrioside-7-O-sophoroside |  |  | 1096 |  |  | 1095 | [6 empty] | 771 (100), 651 (6), 609 (100), 429 (35), 285 (71)
|  | Kaempferol-3-O-sophoroside-7-O-glucoside |  |  | 772 |  |  | 771 | [6 empty] | 609 (100), 447 (17), 429 (45), 285 (100)
|  | Kaempferol-3-O-sophoroside-7-O-sophoroside |  |  | 994 |  |  | 933 | [6 empty] | 609 (100), 489 (11), 429 (92), 284 (100)
|  | Kaempferol-3-O-sophorotrioside |  |  | 772 |  |  | 771 | [6 empty] | 609 (27), 591 (29), 429 (63), 285 (100)
|  | Kaempferol-3-O-sophoroside |  |  | 610 |  |  | 609 | [6 empty] | 489, 447 (7), 429 (43), 285 (100)
|  | Kaempferol-3-O-glycoside |  |  | 448 |  |  | 447 | [6 empty] | 285 (100)
|  | Kaempferol-3-O-(feruloyl/caffeoyl)sophoroside-7-O-glucoside |  |  | 1126 |  |  | 1125 | [6 empty] | MS2: 963 (100), 801 (67), 771 (16), 609 (7); MS3: 801 (6), 771 (100), 609 (100)
|  | Kaempferol 3-O-(sinapoyl/caffeoyl)sophoroside-7-O-glucoside |  |  | 1140 |  |  | 1139 | [6 empty] | MS2: 977 (100), 815 (35), 609 (5); MS3: 815 (9), 771 (100), 609 (100)
|  | Kaempferol 3-O-(feruloyl/caffeoyl)sophoroside-7-O-glucoside |  |  | 1110 |  |  | 1109 | [6 empty] | MS2: 947 (100), 785 (49), 771 (4), 609 (9); MS3: 785 (16), 771 (100), 609 (100)
|  | Kaempferol 3-O-(sinapoyl)-sophoroside |  |  | 816 |  |  | 815 | [6 empty] | 609 (100)
|  | Kaempferol 3-O-(feruloyl)sophorotrioside |  |  | 948 |  |  | 947 | [6 empty] | 771 (100)
|  | Kaempferol 3-O-(feruloyl)sophoroside |  |  | 786 |  |  | 785 | [6 empty] | 609 (100)
|  | Quercetin-3-O-Sophoroside-7-O-Glucoside | 351 | 255,265(sh), 303 (sh), 351 | 788 |  |  | 787.4 | [6 empty] | MS2: 625 (100), MS3: 463 (4), 445 (45), 200 (100) | [11 empty] | internal leaves | European Food Research and Technology, 222(1-2), pp. 88-98 (2006)
|  | Kaempferol-3-O-Sophoroside-7-O-Glucoside | 348 | 265, 303 (sh), 348 | 772 |  |  | 771.4 | [6 empty] | MS2: 609 (100); MS3: 489 (45), 429 (62), 284 (100)
|  | Kaempferol-3-O-Sophoroside | 349 | 265,300 (sh),349 | 610 |  |  | 609.3 | [6 empty] | 447 (5), 429 (32), 285 (100)
|  | Kaempferol 3-(cafeoyl)-sophoroside-7-O-glucoside | 327 | 265, 327 | 934 |  |  | 933.3 | [6 empty] | MS2: 771 (100), 609 (45); MS3: 609 (100)
|  | Kaempferol 3-(sinapoyl)-sophoroside-7-O-glucoside | 333 | 268, 333 | 978 |  |  | 977.4 | [6 empty] | MS2: 815 (100), 609(3); MS3: 609 (100)
|  | Kaempferol 3-(feruloyl)-sophoroside-7-O-glucoside |  |  | 948 |  |  | 947.3 | [6 empty] | MS2: 785 (100), 609 (2); MS3: 609 (93)
|  | Kaempferol 3-(p-coumaroyl)-sophoroside-7-O-glucoside |  |  | 918 |  |  | 917.3 | [6 empty] | MS2: 755 (100) 609 (3); MS3: 609 (100)
|  | Kaempferol-3-O-(sinapoyl)sophorotrioside-7-O-glucoside |  |  | 1140 |  |  | 1139 | [6 empty] | MS2: 977 (100); MS3: 771 (100); MS4: 609 (15), 428 (35), 285 (100) | [8 empty] | costata DC | Bragança, Northeast Portugal, | July 2005 | seeds | Food Chemistry 101 (2007) 549–558
|  | Kaempferol-3,7-di-O-glucoside-4-O -(sinapoyl)glucoside |  |  | 978 |  |  | 977 | [6 empty] | MS2: 815 (100); MS3: 653 (100); MS4: 285 (100)
|  | Quercetin-3-O-sophorotrioside-7-O-glucoside | 355 | 255, 266sh, 300sh, 355 | 950 |  |  | 949 | [6 empty] | MS2: 787 (100); MS3: 625 (70), 445 (20), 301 (100) | [8 empty] | acephala | Bragança, Northeast Portugal, |  | leaves | Food and Chemical Toxicology 47 (2009) 1209–1220
|  | Kaempferol-3-O-sophorotrioside-7-O-glucoside |  |  | 934 |  |  | 933 | [6 empty] | MS2: 771 (100); MS3: 651 (50), 429 (90), 285 (100)
|  | Quercetin-3-O-sophoroside-7-O-glucoside | 353 | 255, 266sh, 300sh, 353 | 788 |  |  | 787 | [6 empty] | MS2: 625 (100), 300 (5); MS3 463 (25), 445 (20), 300 (100)
|  | Kaempferol-3-O-sophoroside-7-O-glucoside |  | 265, 320sh, 347 | 772 |  |  | 771 | [6 empty] | MS2: 609 (100); MS3: 429 (50), 285 (100)
|  | Isorhamnetin-3-O-sophoroside-7-O-glucoside |  |  | 802 |  |  | 801 | [6 empty] | MS2: 639 (100); MS3: 459 (25), 315 (100)
|  | kaempferol-3-O-gentiobioside-7-O-glucoside | 349 | 265, 318sh, 349 | 772 |  |  | 771 | [6 empty] | MS2: 609 (100), 285 (10); MS3: 285 (100)
|  | Isorhamnetin-3-O-gentiobioside-7-O-glucoside |  |  | 802 |  |  | 801 | [6 empty] | MS2: 639 (100) 315 (15); MS3: 315 (100)
|  | Quercetin-3-O-sophorotrioside-7-O-diglucoside |  | 255, 267sh, 295sh, 350 | 1112 |  |  | 1111 | [6 empty] | MS2: 787(100); MS3: 445 (100), 301 (95)
|  | Kaempferol-3-O-sophorotrioside-7-O-diglucoside | 348 | 265, 317sh, 348 | 1096 |  |  | 1095 | [6 empty] | MS2: 771 (100); MS3: 609 (100), 429 (20), 285 (50)
|  | Quercetin-3-O-sophoroside-7-O-diglucoside |  |  | 950 |  |  | 949 | [6 empty] | MS2: 625 (100), 300 (7); MS3: 445 (30), 300 (100)
|  | Kaempferol-3-O-sophoroside-7-O-diglucoside | 347 | 265, 320sh, 347 | 934 |  |  | 933 | [6 empty] | MS2: 609 (100), 285 (5); MS3: 447 (30), 429 (50), 285 (100)
|  | Isorhamnetin-3-O-sophoroside-7-O-diglucoside | 352 | 255, 265sh, 298sh, 352 | 964 |  |  | 963 | [6 empty] | MS2: 639 (100), 315 (5); MS3: 459 (30), 315 (100)
|  | Kaempferol-3-O-gentiobioside-7-O-diglucoside |  |  | 934 |  |  | 933 | [6 empty] | MS2: 609 (100), 285 (25); MS3: 285 (100)
|  | Quercetin-3-O-sophoroside |  |  | 626 |  |  | 625 | [6 empty] | MS2: 463 (12), 445 (20), 300 (100)
|  | Kaempferol-3-O-sophoroside | 347 | 266, 297sh, 347 | 610 |  |  | 609 | [6 empty] | MS2: 447 (15), 429 (30), 284 (100)
|  | Quercetin-3-O-(sinapoyl)sophoroside-7-O-glucoside |  |  | 994 |  |  | 993 | [6 empty] | MS2: 831 (100), 787 (69), 625 (50); MS3: 639 (15), 625 (100), 300 (13)
|  | Quercetin-3-O-(feruloyl)sophoroside-7-O-glucoside |  |  | 964 |  |  | 963 | [6 empty] | MS2: 801 (100), 787 (25), 625 (27);MS3: 625 (100), 445 (15), 301 (5)
|  | Kaempferol-3-O-(methoxicaffeoyl)sophoroside-7-O-glucoside |  |  | 964 |  |  | 963 | [6 empty] | MS2: 801 (100), 609 (5); MS3: 609 (100), 429 (5), 285 (9)
|  | Kaempferol-3-O-(caffeoyl)sophoroside-7-O-glucoside |  |  | 934 |  |  | 933 | [6 empty] | MS2: 771 (100), 609 (6); MS3: 609 (100), 429 (4), 285 (4)
|  | Kaempferol-3-O-(sinapoyl)sophoroside-7-O-glucoside |  |  | 978 |  |  | 977 | [6 empty] | MS2: 815 (100), 609 (5); MS3: 623 (50), 609 (100), 429 (4), 285 (5)
|  | Kaempferol-3-O-(feruloyl)sophoroside-7-O-glucoside |  |  | 948 |  |  | 947 | [6 empty] | MS2: 785 (100), 609 (5); MS3: 623 (100), 609 (50), 429 (30), 285 (8)
|  | Kaempferol-3-O-(p-coumaroyl)sophoroside-7-O-glucoside |  |  | 918 |  |  | 917 | [6 empty] | MS2: 755 (100), 609 (13); MS3: 609 (100), 429 (10), 284 (25)
|  | Kaempferol-3-O-(p-coumaroyl)gentiobioside-7-O-glucoside |  |  | 918 |  |  | 917 | [6 empty] | MS2: 755 (100), 609 (5); MS3: 609 (100), 429 (4), 284 (10)
|  | Quercetin-3-O-(feruloyl)sophoroside-7-O-diglucoside |  |  | 1126 |  |  | 1125 | [6 empty] | MS2: 963 (40), 949 (100), 801 (85), 625 (25); MS3: 639 (75), 625 (100), 300 (55)
|  | Kaempferol-3-O-(sinapoyl)sophoroside-7-O-diglucoside |  |  | 1140 |  |  | 1139 | [6 empty] | MS2: 977 (7), 815 (100), 609 (13); MS3: 623 (95), 609 (100), 429 (25), 285 (6)
|  | Kaempferol-3-O-(feruloyl)sophoroside-7-O-diglucoside |  |  | 1110 |  |  | 1109 | [6 empty] | MS2: 947 (5), 785 (100), 609 (16); MS3: 623 (100), 609 (40), 429 (22), 285 (14)
|  | Kaempferol-3-O-(p-coumaroyl)sophoroside-7-O- diglucoside |  |  | 1080 |  |  | 1079 | [6 empty] | MS2: 755 (100), 609 (15); MS3: 609 (100), 284 (8)
|  | Quercetin-3-O-(sinapoyl)sophoroside |  |  | 832 |  |  | 831 | [6 empty] | MS2: 639 (10), 625 (100), 300 (9); MS3: 463 (15), 445 (22), 300 (100)
|  | Quercetin-3-O-(feruloyl)sophoroside |  |  | 802 |  |  | 801 | [6 empty] | MS2: 639 (5), 625 (100), 300 (6); MS3: 445 (18), 300 (100)
|  | Kaempferol-3-O-(sinapoyl)sophoroside |  |  | 816 |  |  | 815 | [6 empty] | MS2: 623 (70), 609 (100), 284 (10); MS3: 447 (17), 429 (70), 284 (100)
|  | Kaempferol-3-O-(feruloyl)sophoroside |  |  | 786 |  |  | 785 | [6 empty] | MS2: 623 (90), 609 (100), 284 (12); MS3: 447 (10), 429 (100), 285 (62)
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Brassica rapa L.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | The HPLC system was equipped with an Agilent 1100 series diode array detector and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser, and a G1315B photodiode array detector controlled by ChemStation software (v. 08.03). The mass detector was an Agilent G2445A ion trap mass spectrometer equipped with an electrospray ionization (ESI) system and controlled by LCMSD software (v. 4.1). Nitrogen was used as nebulizing gas at a pressure of 65 psi, and the flow was adjusted to 11 L/min. | The heated capillary and voltage were maintained at 350 °C and 4 kV, respectively. Collision induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 to 2 V. | Negative mode | rapa | Bragança (northeastern Portugal) |  | leaves | J. Agric. Food Chem., Vol. 56, No. 3, pp 844–853,2008
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
Flavones
| Flavonols | Kaempferol-3-O-sophorotrioside-7-O-glucoside | 348 | 266, 316sh, 348 | 934 |  |  | 933 | [6 empty] | MS2: 771 (100); MS3: 609 (45) 429 (26), 284 (100)
|  | Quercetin-3-O-sophoroside-7-O-glucoside |  |  | 788 |  |  | 787 | [6 empty] | MS2: 625 (100); MS3: 445 (60), 301 (100)
|  | Kaempferol-3-O-sophoroside7-O-glucoside | 347 | 266, 317sh, 347 | 772 |  |  | 771 | [6 empty] | MS2: 609 (100); MS3: 429 (100), 284 (50)
|  | Quercetin-3,7-di-O-glucoside | 349 | 255, 267sh, 294sh, 349 | 626 |  |  | 625 | [6 empty] | MS2: 463 (100), 301 (50)
|  | Kaempferol-3,7-di-O-glucoside | 349 | 265, 317sh, 349 | 610 |  |  | 609 | [6 empty] | MS2: 447 (100), 285 (30)
|  | Isorhamnetin-3,7-di-O-glucoside |  |  | 640 |  |  | 639 | [6 empty] | MS2: 477 (100), 315 (19)
|  | Kaempferol-3-O-sophoroside | 347 | 266, 297sh, 347 |  |  |  | 609 | [6 empty] | MS2: 429 (65), 285 (100)
|  | Kaempferol-7-O-glucoside | 367 | 266, 318sh, 367 | 448 |  |  | 447 | [6 empty] | MS2: 285 (100)
|  | Kaempferol-3-O-glucoside | 349 | 266, 299sh, 349 | 448 |  |  | 447 | [6 empty] | MS2: 285 (100)
|  | Isorhamnetin-3-O-glucoside | 350 | 255, 265sh, 299sh, 350 | 478 |  |  | 477 | [6 empty] | MS2: 314 (100)
|  | Quercetin-3-O-(methoxycaffeoyl)sophoroside-7-O-glucoside | 333 | 255sh, 269sh, 333 | 980 |  |  | 979 | [6 empty] | MS2: 787 (80), 625 (59), MS3: 625 (100)
|  | Quercetin-3-O-(caffeoyl)sophoroside-7-O-glucoside | 343 | 255, 269sh, 299sh, 343 | 788 |  |  | 787 | [6 empty] | MS2: 625 (40); MS3: 625 (100), 301 (10)
|  | Quercetin-3-O-(sinapoyl)sophoroside-7-O-glucoside |  | 270, 337 | 994 |  |  | 993 | [6 empty] | MS2: 831 (100), 787 (100), 625 (60); MS3: 625 (100), 301 (3)
|  | Quercetin-3-O-(feruloyl)sophoroside-7-O-glucoside | 348 | 255, 269sh, 299sh, 348 | 964 |  |  | 963 | [6 empty] | MS2: 801 (100), 787 (45), 625 (40); MS3: 625 (100), 301 (10)
|  | Quercetin-3-O-(p-coumaroyl)sophoroside-7-O-glucoside |  | 297sh, 327 | 934 |  |  | 933 | [6 empty] | MS2: 787 (10), 771 (100), 625 (35); MS3: 625 (100), 301 (5)
|  | Quercetin-3-O-(caffeoyl)sophoroside-7-O-glucoside (isomer) |  |  | 950 |  |  | 949 | [6 empty] | MS2: 787 (100), 625 (50); MS3: 625 (100), 300 (7)
|  | Kaempferol-3-O-(methoxycaffeoyl)sophoroside-7-O-glucoside | 331 | 269, 331 | 964 |  |  | 963 | [6 empty] | MS2. 801 (100), 609 (5); MS3: 609 (100), 284 (30)
|  | Kaempferol-3-O-(caffeoyl)sophoroside-7-O-glucoside | 331 | 269, 331 | 934 |  |  | 933 | [6 empty] | MS2: 771 (100), 609 (6); MS3: 609 (100), 285 (4)
|  | Kaempferol-3-O-(sinapoyl)sophoroside-7-O-glucoside | 331 | 269, 331 | 978 |  |  | 977 | [6 empty] | MS2: 815 (100), 609 (3); MS3: 609 (100), 284 (10)
|  | Kaempferol-3-O-(feruloyl)sophoroside-7-O-glucoside | 331 | 269, 331 | 948 |  |  | 947 | [6 empty] | MS2: 785 (100), 609 (4); MS3: 609 (60)
|  | Kaempferol-3-O-(p-coumaroyl)sophoroside-7-O-glucoside | 317 | 269, 317 | 918 |  |  | 917 | [6 empty] | MS2: 755 (100), 609 (5)
|  | Kaempferol-3-O-(feruloyl)sophoroside-7-O-glucoside (isomer) |  |  | 948 |  |  | 947 | [6 empty] | MS2: 785 (100), 609 (5); MS3: 609 (100)
|  | kaempferol-3-O-(p-coumaroyl)sophoroside-7-O-glucoside (isomer) | 319 | 268, 319 | 918 |  |  | 917 | [6 empty] | MS2: 755 (100), 609 (3); MS3: 609 (100), 285 (5)
|  | Kaempferol-3-O-(methoxycaffeoyl)sophoroside |  |  | 802 |  |  | 801 | [6 empty] | MS2: 609 (100), 429 (5), 285 (12); MS3: 429 (30), 285 (100)
|  | Kaempferol-3-O-(caffeoyl)sophoroside | 330 | 269, 299sh, 330 | 772 |  |  | 771 | [6 empty] | MS2: 609 (100), 429 (5), 285 (8); MS3: 429 (35), 285 (100)
|  | Kaempferol-3-O-(sinapoyl)sophoroside | 330 | 269, 330 | 816 |  |  | 815 | [6 empty] | MS2: 609 (100), 429 (4), 285 (10); MS3: 429 (60), 285 (100)
|  | Kaempferol-3-O-(feruloyl)sophoroside |  |  | 786 |  |  | 785 | [6 empty] | MS2: 609 (100), 429 (2), 284 (25); MS3: 429 (65), 285 (100)
|  | Kaempferol-3-O-(p-coumaroyl)sophoroside | 317 | 269, 317 | 756 |  |  | 755 | [6 empty] | MS2: 609 (100), 429 (4), 285 (10); MS3: 429 (30), 285 (100)
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Briza media L.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | The LC system was equipped with an Agilent 1100 Series diode array and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser and a G1315B photo-diode array detector controlled by a ChemStation software (Agilent, v. 08.03). The mass detector was a G2445A ion-trap mass spectrometer equipped with an ESI system and controlled by LCMSD software (Agilent, v. 4.1). Nitrogen was used as nebulising gas at a pressure of 65 psi and the flow was adjusted to 11 L min−1. The heated capillary and voltage were maintained at 350 ◦C and 4 kV, respectively. The full scan mass covered the range from m/z 200 up to m/z 1500. | Collision-induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 up to 2 V. | Negative mode |  |  |  | Leaves | Journal of Chromatography A, 1161 (2007) 214–223
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Apigenin-4'-O-Glycoside-6-C-Glycoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 503 (1), 473 (18), 431 (58), 341 (8), 311 (100); MS3: 341 (20), 311 (100)
|  | Apigenin-X-O-Hexoside-2''-O-Rhamnoside-8-C-Heptoside |  |  | 740 |  |  | 739 | [6 empty] | MS2: 577 (100), 413 (12), 293 (2); MS3: 413 (35), 311 (29), 293 (100)
|  | Luteolin-4'-O-Glycoside-6-C-Glycoside |  |  | 610 |  |  | 609 | [6 empty] | MS2: 489 (7), 447 (100), 357 (3), 327 (34); MS3: 357 (85), 327 (100)
|  | Luteolin 4'-O-Glycoside-8-C-Glycoside |  |  | 610 |  |  | 609 | [6 empty] | MS2: 489 (5), 447 (100), 357 (11), 327 (58); MS3: 357 (18), 327 (100)
|  | Luteolin-X-O-Hexoside-2''-O-Rhamnosyl-C-Hexoside |  |  | 756 |  |  | 755 | [6 empty] | MS2: 635 (6), 593 (100), 473 (6), 429 (9), 309 (4); MS3: 473 (29), 429 (20), 357 (30), 327 (100), 309 (45)
|  | Apigenin-2''-O-Rhamnoside-C-Hexoside |  |  | 578 |  |  | 577 | [6 empty] | MS2: 457 (9), 413 (100), 341 (1), 323 (2), 311 (12), 293 (94); MS3: 293 (100)
|  | Luteolin-2''-O-Rhamnoside-6-C-Hexoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 473 (64), 429 (26), 357 (82), 327 (100), 309 (24); MS3: 309 (100)
|  | Luteolin-2''-O-Rhamnoside-8-C-Hexoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 473 (44), 429 (44), 357 (47), 327 (100), 309 (32); MS3: 309 (100)
|  | Methyl-luteolina-2''-O-Rhamnoside-6-C-Hexoside |  |  | 608 |  |  | 607 | [6 empty] | MS2: 487 (7), 443 (100), 371 (2), 353 (2), 341 (16), 323 (26); MS3: 353 (2), 323 (100)
|  | Methyl-luteolina-2''-O-Rhamnoside-8-C-Hexoside |  |  | 608 |  |  | 607 | [6 empty] | MS2: 487 (3), 443 (100), 371 (1), 341 (6), 323 (40); MS3: 323 (100)
Flavonols
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Sheet2
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | The LC system was equipped with an Agilent 1100 Series diode array and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser and a G1315B photo-diode array detector controlled by a ChemStation software (Agilent, v. 08.03). The mass detector was a G2445A ion-trap mass spectrometer equipped with an ESI system and controlled by LCMSD software (Agilent, v. 4.1). Nitrogen was used as nebulising gas at a pressure of 65 psi and the flow was adjusted to 11 L min−1. The heated capillary and voltage were maintained at 350 ◦C and 4 kV, respectively. The full scan mass covered the range from m/z 200 up to m/z 1500. | Collision-induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 up to 2 V. |  |  |  |  | leaves | Journal of Chromatography A, 1161 (2007) 214–223
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Apigenin 2''-O-Xyloside-8-C-Glicoside |  |  | 564 |  |  | 563 | [6 empty] | MS2: 443 (2), 413 (100), 341 (1), 311 (5), 293 (70); MS3: 293 (100)
|  | Apigenin-2''-O-Hexoside-8-C-Glucoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 473 (3), 413 (100), 341 (1), 311 (3), 293 (75); MS3: 293 (100)
Flavonols
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics