## Tilia platyphyllos Scop
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | Protocatechuic acid | 260,294sh |  |  |  |  | 153 | [6 empty] | 109(100) | 6.3 mg/g of hydroethanolic extract |  |  |  |  | Hewlett-Packard 1100 chromatograph (Hewlett-Packard 1100, Agilent Technologies, Santa Clara, CA, US), with a diode array detector (DAD) coupled to an HP Chem Station (rev. A.05.04) data-processing station and connected via the cell outlet to a MS detector API 3200 Qtrap (Applied Biosystems, Darmstadt, Germany) through an ESI source and a triple quadrupole-ion trap mass analyzer that was controlled by the Analyst 5.1 software |  |  |  | Cantinho das Aromáticas Vila Nova de Gaia (Portugal). |  | Aerial parts (namely, leaves, flowers and inflorescences) | Jabeur et al., 2017. Food and Function, 3, 975-984
| Hydroxycinnamic acids (C6-C3) and derivatives | 3-O-Caffeoylquinic acid | 328 |  |  |  |  | 353 | [6 empty] | 191(100),179(44),161(5),135(38) | 0.64 mg/g of hydroethanolic extract
|  | 5-O-Caffeoylquinic acid | 328 |  |  |  |  | 353 | [6 empty] | 191(100),179(5),135(6) | 4.7 mg/g of hydroethanolic extract
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol | (+)-Catechin | 280 |  |  |  |  | 289 | [6 empty] | 245(12),203(20),187(10),161(5),137(5) | 1.6 mg/g of hydroethanolic extract
|  | Procyanidin dimer B2 | 280 |  |  |  |  | 577 | [6 empty] | 451(26),425(37),407(100),289(69),287(7) | 4.2 mg/g of hydroethanolic extract
|  | (-)-Epicatechin | 280 |  |  |  |  | 289 | [6 empty] | 245(8),203(22),187(11),161(7),137(7) | 6.41 mg/g of hydroethanolic extract
|  | Procyanidin trimer | 280 |  |  |  |  | 865 | [6 empty] | 739(10),713(18),577(34),575(21),425(14),407(25),289(15),287(20) | 2.54 mg/g of hydroethanolic extract
|  | Procyanidin tetramer | 280 |  |  |  |  | 1153 | [6 empty] | 865(6),863(17),577(61),575(17),289(42),287(10) | 3.9 mg/g of hydroethanolic extract
| Flavones | Methyl apigenin | 332 |  |  |  |  | 283 | [6 empty] | 269(100) | 2.07 mg/g of hydroethanolic extract
| Flavonols | Quercetin-O-hexoside-O-deoxyhexoside | 356 |  |  |  |  | 609 | [6 empty] | 463(9),447(27),301(12) | 0.13 mg/g of hydroethanolic extract
|  | Quercetin-3-O-glucoside-7-O-rhamnoside | 356 |  |  |  |  | 609 | [6 empty] | 463(20),447(45),301(31) | 1.4mg/g of hydroethanolic extract
|  | Quercetin-O-pentoside-O-rhamnoside | 358 |  |  |  |  | 579 | [6 empty] | 447(64),433(10),301(33) | 0.65 mg/g of hydroethanolic extract
|  | Kaempferol-3-O-glucoside-7-O-rhamnoside | 348 |  |  |  |  | 593 | [6 empty] | 447(41),431(54),285(33) | 1.52 mg/g of hydroethanolic extract
|  | Quercetin-3-O-rutinoside (rutin) | 356 |  |  |  |  | 609 | [6 empty] | 301(100) | 0.96 mg/g of hydroethanolic extract
|  | Quercetin-3,7-di-O-rhamnoside | 352 |  |  |  |  | 593 | [6 empty] | 446(53),301(39) | 1.1 mg/g of hydroethanolic extract
|  | Quercetin-3-O-glucuronide | 350 |  |  |  |  | 477 | [6 empty] | 301(100) | 0.21 mg/g of hydroethanolic extract
|  | Kaempferol-O-pentoside-O-deoxyhexoside | 348 |  |  |  |  | 563 | [6 empty] | 431(66),417(26),285(39) | 0.76 mg/g of hydroethanolic extract
|  | Quercetin-3-O-galactoside (hyperoside) | 358 |  |  |  |  | 463 | [6 empty] | 301(100) | 1.01 mg/g of hydroethanolic extract
|  | Quercetin-3-O-glucoside (isoquercitrin) | 356 |  |  |  |  | 463 | [6 empty] | 301(100) | 6.36 mg/g of hydroethanolic extract
|  | Quercetin-3-O-acetylglucoside | 360 |  |  |  |  | 505 | [6 empty] | 463(12),301(100) | 0.090 mg/g of hydroethanolic extract
|  | Kaempferol-3-O-rutinoside | 346 |  |  |  |  | 593 | [6 empty] | 285(100) | 1.03 mg/g of hydroethanolic extract
|  | Kaempferol-3,7-di-O-rhamnoside | 346 |  |  |  |  | 577 | [6 empty] | 431(72),285(78) | 1.15 mg/g of hydroethanolic extract
|  | Quercetin-O-pentoside | 356 |  |  |  |  | 433 | [6 empty] | 301(100) | 1.8 mg/g of hydroethanolic extract
|  | Quercetin-3-O-rhamnoside (quercitrin) | 350 |  |  |  |  | 447 | [6 empty] | 301(100) | 3.5 mg/g of hydroethanolic extract
|  | Kaempferol-O-hexoside | 348 |  |  |  |  | 447 | [6 empty] | 285(100) | 0.55 mg/g of hydroethanolic extract
|  | Kaempferol-O-pentoside | 352 |  |  |  |  | 417 | [6 empty] | 285(100) | 0.38 mg/g of hydroethanolic extract
|  | Kaempferol-O-rhamnoside | 346 |  |  |  |  | 431 | [6 empty] | 285(100) | 0.39 mg/g of hydroethanolic extract
|  | Kaempferol-O-rhamnoside | 350 |  |  |  |  | 431 | [6 empty] | 285(100) | 0.45 mg/g of hydroethanolic extract
|  | trans-Tiliroside | 35.0 |  |  |  |  | 316 | [6 empty] | 447(10),285(79) | 1.38 mg/g of hydroethanolic extract
|  | cis-Tiliroside | 35.3 |  |  |  |  | 326 | [6 empty] | 447(10),285(79) | 0.27 mg/g of hydroethanolic extract
| Flavanones | Eriodictyol-O-hexoside | 286,336sh |  |  |  |  | 449 | [6 empty] | 287(100) | 1.3 mg/g of hydroethanolic extract
|  | Naringenin-O-hexoside | 284,334sh |  |  |  |  | 433 | [6 empty] | 271(100) | 0.90 mg/g of hydroethanolic extract
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n | Procyanidin pentamer | 280 |  |  |  |  | 1441 | [6 empty] | 1153(9),865(9),577(31),289(96),287(30) | 2.4 mg/g of hydroethanolic extract
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Thymus vulgaris L.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) | [5 empty] | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) |  | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [20 empty] | HPLC chromatograph (Hewlett-Packard 1100, Agilent Technologies, Santa Clara, CA, US) with a double online detection using a diode array detector (DAD) with 280, 330 and 370 nm as preference wavelengths, and a mass spectrometer (MS) equipped with an ESI source and a triple quadrupole-ion trap mass analyser, which was connected to the HPLC system via the DAD cell outlet |  |  |  | (Pragmático Aroma Lda, Alfândega da Fé, Bragança, Portugal |  | leaves | Pereira et al., 2016. LWT - Food Science and Technology, 71, 370-377.
| Hydroxycinnamic acids (C6-C3) and derivatives | Caffeic acid hexoside | 320 |  |  |  |  | 341 | [6 empty] | 179(100),135(88) | 1.7 mg/g hydromethanolic extract | 3.1 µg/mL of infusion
|  | Caffeic acid | 326 |  |  |  |  | 179 | [6 empty] | 135(100) | 2.69 mg/g hydromethanolic extract | 4.54 µg/mL of infusion
|  | Rosmarinic acid hexoside | 322 |  |  |  |  | 521 | [6 empty] | 359(100),197(13),179(36),161(62),135(21) | 16.8 mg/g hydromethanolic extract | 33 µg/mL of infusion
|  | Caffeic acid trimer | 286,320sh |  |  |  |  | 537 | [6 empty] | 493(20),359(70),295(5),197(13),179(28),161(100),135(63) | 9.1 mg/g hydromethanolic extract | 19.36 µg/mL of infusion
|  | Rosmarinic acid | 330 |  |  |  |  | 359 | [6 empty] | 197(17),179(35),161(100),135(29) | 12.7 mg/g hydromethanolic extract | 22.3 µg/mL of infusion
|  | Caffeic acid derivative | 282 |  |  |  |  | 567 | [6 empty] | 535(23),493(49),387(32),285(25),197(13) | 2.3 mg/g hydromethanolic extract | 3.0 µg/mL of infusion
|  | Lithospermic acid A | 290,326sh |  |  |  |  | 537 | [6 empty] | 493(50),359(17),295(33),179(75),135(100) | 2.25 mg/g hydromethanolic extract | 3.53 µg/mL of infusion
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Apigenin 6,8-di-C-glucoside | 338 |  |  |  |  | 593 | [6 empty] | 473(20),383(33),353(27),297(5) | 3.45 mg/g hydromethanolic extract | 6.6 µg/mL of infusion
|  | Luteolin-7-O-glucuronide | 348 |  |  |  |  | 461 | [6 empty] | 285(100) | 8.4 mg/g hydromethanolic extract | 24.0 µg/mL of infusion
|  | Luteolin-7-O-glucoside | 350 |  |  |  |  | 447 | [6 empty] | 285(100) | 3.34 mg/g hydromethanolic extract | 4.7 µg/mL of infusion
| Flavonols | Quercetin-O-glucuronide | 350 |  |  |  |  | 461 | [6 empty] | 301(100) | 0.4 mg/g hydromethanolic extract | 0.21 µg/mL of infusion
| Flavanones | Methyleriodictyol-O-pentosylhexoside | 284,336sh |  |  |  |  | 595 | [6 empty] | 301(47),286(100) | 3.12 mg/g hydromethanolic extract | 5.03 µg/mL of infusion
|  | Eriodictyol | 288,334sh |  |  |  |  | 287 | [6 empty] | 151(35),135(100) | 0.87 mg/g hydromethanolic extract | 1.51 µg/mL of infusion
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Thymus vulgaris L._2
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) | [6 empty] | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) |  |  | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | Protocatechuic acid | 258,sh292 |  |  |  |  | 153 | [6 empty] | 123(2),109(100) | 0.73 mg/g extract (infusion) | 0.85 mg/g extract (decoction) | 0.76 mg/g extract (hydroalcoholic) |  |  |  |  | HPLC (Hewlett-Packard 1100, Agilent Technologies, Santa Clara, CA, USA) |  |  |  | Soria Natural (Garray - Soria, Spain) |  | aerial parts (leaves and flowers, separated from branches) | Martins et al., 2015. Food Chemistry, 167, 131-137
| Hydroxycinnamic acids (C6-C3) and derivatives | 3,4-dihydroxyphenylacetic acid | 280 |  |  |  |  | 197 | [6 empty] | 179(38),151(9),135(100) | 1.72 mg/g extract (infusion) | 1.90 mg/g extract (decoction) | 1.57 mg/g extract (hydroalcoholic)
|  | 5-O-Caffeolyquinic acid | 330 |  |  |  |  | 353 | [6 empty] | 191(100),179(5),173(4),161(4),135(2) | 1.46 mg/g extract (infusion) | 1.07 mg/g extract (decoction) | 0.87 mg/g extract (hydroalcoholic)
|  | Caffeic acid | 328 |  |  |  |  | 179 | [6 empty] | 135(100),107(4) | 1.82 mg/g extract (infusion) | 2.20 mg/g extract (decoction) | 1.84 mg/g extract (hydroalcoholic)
|  | Rosmarinic acid glucoside | 320 |  |  |  |  | 521 | [6 empty] | 359(100),197(21),179(35),161(74),135(13) | 3.45 mg/g extract (infusion) | 3.16 mg/g extract (decoction) | 3.24 mg/g extract (hydroalcoholic)
|  | Rosmarinic acid | 330 |  |  |  |  | 359 | [6 empty] | 197(99),179(90),161(100),135(53) | 23.52 mg/g extract (infusion) | 23.98 mg/g extract (decoction) | 22.26 mg/g extract (hydroalcoholic)
|  | Lithospermic acid A | 328 |  |  |  |  | 537 | [6 empty] | 493(100),359(89),313(17),295(64),197(27),179(54),161(82),135(82) | nd | 2.64 mg/g extract (decoction) | 4.38 mg/g extract (hydroalcoholic)
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Apigenin 6,8-di-C-glucoside | 336 |  |  |  |  | 593 | [6 empty] | 473(24),383(9), 297(24),253(3) | 1.57 mg/g extract (infusion) | 1.43 mg/g extract (decoction) | nd
|  | Luteolin O-diglucuronide | 350 |  |  |  |  | 637 | [6 empty] | 461(55),285(38) | 9.96 mg/g extract (infusion) | 10.11 mg/g extract (decoction) | 1.66 mg/g extract (hydroalcoholic)
|  | Luteolin 7-O-glucuronide | 348 |  |  |  |  | 461 | [6 empty] | 285(100) | 26.59 mg/g extract (infusion) | 25.63 mg/g extract (decoction) | 8.79 mg/g extract (hydroalcoholic)
|  | Luteolin 7-O-glucoside | 346 |  |  |  |  | 447 | [6 empty] | 285(100) | 14.95 mg/g extract (infusion) | 16.62 mg/g extract (decoction) | 26.43 mg/g extract (hydroalcoholic)
|  | Apigenin O-glucuronide | 340 |  |  |  |  | 445 | [6 empty] | 269(100) | 3.04 mg/g extract (infusion) | 3.12 mg/g extract (decoction) | 1.64 mg/g extract (hydroalcoholic)
|  | Luteolin O-hexoside | 346 |  |  |  |  | 447 | [6 empty] | 285(100) | 4.27 mg/g extract (infusion) | 4.67 mg/g extract (decoction) | 2.19 mg/g extract (hydroalcoholic)
|  | Methyl apigenin | 336 |  |  |  |  | 283 | [6 empty] | 268(100) | 0.36 mg/g extract (infusion) | 0.65 mg/g extract (decoction) | 0.50 mg/g extract (hydroalcoholic)
| Flavonols | Quercetin O-hexoside | 354 |  |  |  |  | 463 | [6 empty] | 301(100) | 1.18 mg/g extract (infusion) | 1.46 mg/g extract (decoction) | 1.48 mg/g extract (hydroalcoholic)
|  | Quercetin 3-O-rutinoside | 352 |  |  |  |  | 609 | [6 empty] | 301(100) | 1.31 mg/g extract (infusion) | 1.46 mg/g extract (decoction) | 0.75 mg/g extract (hydroalcoholic)
|  | Quercetin 3-O-glucoside | 350 |  |  |  |  | 463 | [6 empty] | 301(100) | 1.01 mg/g extract (infusion) | 1.12 mg/g extract (decoction) | 0.82 mg/g extract (hydroalcoholic)
|  | Isorhamnetin O-hexoside | 352 |  |  |  |  | 477 | [6 empty] | 315(100) | 0.56 mg/g extract (infusion) | 0.74 mg/g extract (decoction) | 0.32 mg/g extract (hydroalcoholic)
|  | Kaempferide O-rutinoside | 336 |  |  |  |  | 607 | [6 empty] | 299(100),284(35) | 1.58 mg/g extract (infusion) | 1.66 mg/g extract (decoction) | 1.46 mg/g extract (hydroalcoholic)
|  | Kaempferol O-glucuronide | 344 |  |  |  |  | 461 | [6 empty] | 285(100) | 1.91 mg/g extract (infusion) | 2.10 mg/g extract (decoction) | 1.15 mg/g extract (hydroalcoholic)
| Flavanones | Eriodictyol O-hexoside | 282 |  |  |  |  | 449 | [6 empty] | 287(100) | 0.69 mg/g extract (infusion) | 0.70 mg/g extract (decoction) | tr
|  | Eriodictyol O-hexoside | 284 |  |  |  |  | 449 | [6 empty] | 287(100) | 1.39 mg/g extract (infusion) | 1.79 mg/g extract (decoction) | 1.85 mg/g extract (hydroalcoholic)
|  | Hesperetin 7-O-rutinoside | 284 |  |  |  |  | 609 | [6 empty] | 301(100) | 4.40 mg/g extract (infusion) | 7.43 mg/g extract (decoction) | 4.92 mg/g extract (hydroalcoholic)
|  | Eriodictyol | 288 |  |  |  |  | 287 | [6 empty] | 151(100),135(95) | 0.11 mg/g extract (infusion) | 0.11 mg/g extract (decoction) | 0.66 mg/g extract (hydroalcoholic)
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Tamus communis
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | Hewlett-Packard 1100 chromatograph (Agilent Technologies, Waldbronn, Germany) with a quaternary pump and a diode array detector (DAD) coupled to an HP Chem Station (rev. A.05.04) data-processing station |  |  |  | Bragança, North-eastern Portugal | 2009 early spring | young stems that sprout from the underground rhizome, more or less 20 cm long | Barros et al., 2011. Food Chemistry, 127, 169-173.
| Hydroxycinnamic acids (C6-C3) and derivatives | 5-O-Caffeoylquinic acid | 328 |  |  |  |  | 353 | [6 empty] | 191(100) | 183.0 mg/Kg, fw
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
Flavones
| Flavonols | Kaempferol-O-dihexoside | 346 |  |  |  |  | 609 | [6 empty] | 447(100),285(11) | 16.8 mg/Kg, fw
|  | Quercetin-O-rhamnoside-hexoside | 355 |  |  |  |  | 609 | [6 empty] | 463(28),447(100),301(12) | 103.3 mg/Kg, fw
|  | Kaempferol -O-rhamnoside-hexoside | 347 |  |  |  |  | 593 | [6 empty] | 447(49),431(100),285(76) | 697.3 mg/Kg, fw
|  | Quercetin-O-rhamnoside | 352 |  |  |  |  | 447 | [6 empty] | 301(100) | 90.9 mg/Kg, fw
|  | Quercetin O-dirhamnoside | 352 |  |  |  |  | 593 | [6 empty] | 447(100),301(13) | 60.8 mg/Kg, fw
|  | Kaempferol-O- rhamnosyl-O-pentoside | 346 |  |  |  |  | 563 | [6 empty] | 431(100),285(39) | 107.1 mg/Kg, fw
|  | Kaempferol 3,4’-di-O-rhamnoside | 344 |  |  |  |  | 577 | [6 empty] | 431(100),285(25) | 834.9 mg/Kg, fw
|  | Kaempferol-O-hexoside | 346 |  |  |  |  | 447 | [6 empty] | 285(100) | 86.8 mg/Kg, fw
|  | Kaempferol-O-pentoside | 346 |  |  |  |  | 417 | [6 empty] | 285(100) | 6.5 mg/Kg, fw
|  | Kaempferol-O-rhamnoside | 345 |  |  |  |  | 431 | [6 empty] | 285(100) | 9.9 mg/Kg, fw
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Tuberaria lignosa (hidden)
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample provinience | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | HPLC (Hewlett-Packard 1100 chromatograph, Agilent Technologies) with a quaternary pump and a diode array detector (DAD) coupled to an HP Chem Station (rev. A.05.04) data-processing station |  |  |  | Miranda do Douro (Trás-os-Montes, Northeastern Portugal) | flowering season
Hydroxycinnamic acids (C6-C3) and derivatives
Flavan-3-ol
Flavones
Flavonols
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proan-thocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins

## T. lignosa wild_Freeze drie.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) | [9 empty] | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | [5 empty] | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [24 empty] | HPLC (Hewlett-Packard 1100 chromatograph, Agilent Technologies) with a quaternary pump and a diode array detector (DAD) coupled to an HP Chem Station (rev. A.05.04) data-processing station |  |  | a) freeze dried; b) Shade dried; c) commercial | Miranda do Douro (Trás-os-Montes, Northeastern Portugal) | flowering season |  | Pinela et al., 2012. Food Chemistry, 3, 1028-1035
| Hydroxycinnamic acids (C6-C3) and derivatives | 5-p-Coumaroylquinic acid | 310 |  |  |  |  | 337 | [6 empty] | 191(100), 173(16), 163(6) | 0.38 mg/g (decoction) a) | 0.53 mg/g (infusion) a) | 0.34 mg/g (decoction) b) | 0.36 mg/g (infusion) b) | 0.84 mg/g (decoction) c) | 0.93 mg/g (infusion) c)
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Luteolin-6-C-glucose-8-C-glucose | 350 |  |  |  |  | 609 | [6 empty] | 609(100), 489(33), 399(9), 369(16) | 0.68 mg/g (decoction) a) | 1.03 mg/g (infusion) a) | 0.71 mg/g (decoction) b) | 0.69 mg/g (infusion) b) | 0.84 mg/g (decoction) c) | 0.79 mg/g (infusion) c)
|  | Apigenin-6-C-glucose-8-C-glucose | 334 |  |  |  |  | 593 | [6 empty] | 593(100), 473(13), 383(6), 353(21) | 1.63 mg/g (decoction) a) | 1.94 mg/g (infusion) a) | 1.81 mg/g (decoction) b) | 1.73 mg/g (infusion) b) | 2.01 mg/g (decoction) c) | 1.87 mg/g (infusion) c)
|  | Luteolin-8-C-glucoside | 350 |  |  |  |  | 447 | [6 empty] | 429(7), 357(60), 327(100), 285(8) | 5.26 mg/g (decoction) a) | 3.86 mg/g (infusion) a) | 4.92 mg/g (decoction) b) | 4.20 mg/g (infusion) b) | 2.18 mg/g (decoction) c) | 2.09 mg/g (infusion) c)
|  | Apigenin-8-C-glucoside | 356 |  |  |  |  | 431 | [6 empty] | 413(4), 341(37), 311(100) | 1.47 mg/g (decoction) a) | 1.56 mg/g (infusion) a) | 1.55 mg/g (decoction) b) | 1.55 mg/g (infusion) b) | 1.65 mg/g (decoction) c) | 1.57 mg/g (infusion) c)
|  | Apigenin-6-C-glucoside | 334 |  |  |  |  | 431 | [6 empty] | 413(8), 341(60), 311(100) | 2.47 mg/g (decoction) a) | 2.39 mg/g (infusion) a) | 2.40 mg/g (decoction) b) | 2.15 mg/g (infusion) b) | 1.81 mg/g (decoction) c) | 1.80 mg/g (infusion) c)
|  | Luteolin-6-C-glucoside | 350 |  |  |  |  | 447 | [6 empty] | 357(4), 327(17), 285(24) | 0.05 mg/g (decoction) a) | 0.03 mg/g (infusion) a) | 0.06 mg/g (decoction) b) | 0.04 mg/g (infusion) b) | 0.21 mg/g (decoction) c) | 0.20 mg/g (infusion) c)
| Flavonols | Quercetin-3-O-rutinoside | 354 |  |  |  |  | 609 | [6 empty] | 301(100) | 0.79 mg/g (decoction) a) | 0.60 mg/g (infusion) a) | 0.68 mg/g (decoction) b) | 0.70 mg/g (infusion) b) | 0.53 mg/g (decoction) c) | 0.54 mg/g (infusion) c)
|  | Kaempferol-3-O-rutinoside | 348 |  |  |  |  | 593 | [6 empty] | 285(100) | 0.77 mg/g (decoction) a) | 0.40 mg/g (infusion) a) | 0.51 mg/g (decoction) b) | 0.46 mg/g (infusion) b) | 0.72 mg/g (decoction) c) | 0.80 mg/g (infusion) c)
|  | Kaempferol-O-rhamnoside-O-rutinoside | - |  |  |  |  | 739 | [6 empty] | 593(100), 285(11) | 0.33 mg/g (decoction) a) | 0.32 mg/g (infusion) a) | 0.28 mg/g (decoction) b) | 0.27 mg/g (infusion) b) | 0.24 mg/g (decoction) c) | 0.31 mg/g (infusion) c)
|  | Kaempferol-p-coumaroylglucoside-glutarate | 314,354sh |  |  |  |  | 707 | [6 empty] | 593(100), 285(14) | 4.54 mg/g (decoction) a) | 3.78 mg/g (infusion) a) | 4.12 mg/g (decoction) b) | 3.79 mg/g (infusion) b) | 4.80 mg/g (decoction) c) | 4.18 mg/g (infusion) c)
|  | Kaempferol-p-coumaroylglucoside | 314,354sh |  |  |  |  | 593 | [6 empty] | 447(10), 285(69) | 1.49 mg/g (decoction) a) | 1.35 mg/g (infusion) a) | 1.26 mg/g (decoction) b) | 1.37 mg/g (infusion) b) | 1.16 mg/g (decoction) c) | 1.42 mg/g (infusion) c)
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
| Hydrolysable tannins (gallotannins, ellagitannins) | Punicalin | 268/378 |  |  |  |  | 781 | [6 empty] | 781(100), 721(7), 601(20), 299(40) | tr | tr | 1.24 mg/g (decoction) b) | tr | 11.72 mg/g (decoction) c) | 11.22 mg/g (infusion) c)
|  | Monogalloylglucose | 270 |  |  |  |  | 325 | [6 empty] | 325(36), 169(100), 125(27) | tr | tr | tr | tr | tr | tr
|  | Punicalagin isomer 1 | 259/378 |  |  |  |  | 1083 | [6 empty] | 1083(100), 781(6), 601(14), 301(4) | 44.73 mg/g (decoction) a) | 43.28 mg/g (infusion) a) | 46.22 mg/g (decoction) b) | 51.18 mg/g (infusion) b) | 39.56 mg/g (decoction) c) | 38.03 mg/g (infusion) c)
|  | Punicalagin gallate isomer 1 | 258/378 |  |  |  |  | 1251 | [6 empty] | 1251(72), 1083(23), 781(3), 601(10), 301(22) | 51.76 mg/g (decoction) a) | 49.94 mg/g (infusion) a) | 46.26 mg/g (decoction) b) | 49.98 mg/g (infusion) b) | 7.27 mg/g (decoction) c) | 5.20 mg/g (infusion) c)
|  | Punicalagin isomer 2 | 258/378 |  |  |  |  | 1083 | [6 empty] | 1083(100), 781*, 601(12), 301(10) | 78.20 mg/g (decoction) a) | 79.42 mg/g (infusion) a) | 78.47 mg/g (decoction) b) | 89.64 mg/g (infusion) b) | 67.84 mg/g (decoction) c) | 64.10 mg/g (infusion) c)
|  | Punicalagin gallate isomer 2 | 264/378 |  |  |  |  | 1251 | [6 empty] | 1251(60), 1083(11), 781(6), 601(40), 301(51) | 46.50 mg/g (decoction) a) | 44.85mg/g (infusion) a) | 40.53 mg/g (decoction) b) | 41.88 mg/g (infusion) b) | 7.79 mg/g (decoction) c) | 6.81 mg/g (infusion) c)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Taraxacum sect. Ruderalia
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) | [6 empty] | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) |  |  | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [21 empty] | Hewlett-Packard 1100 chromatograph (Agilent Technologies, Santa Clara, USA) with a quaternary pump and a diode array detector (DAD) coupled to an HP Chem Station (rev. A.05.04) data-processing station |  |  | wild | Bragança, North-eastern Portugal | April 2012 | Flowers and vegetative parts
| Hydroxycinnamic acids (C6-C3) and derivatives | Caffeic acid pentoside | 330 |  |  |  |  | 311 | [6 empty] | 179(100), 135(94) | 3.24 mg/g methanolic extract | 3.64 mg/g extract (infusion) | 0.67 mg/g extract (decoction)
|  | Caffeic acid hexoside | 330 |  |  |  |  | 341 | [6 empty] | 179(28),135(100) | 3.30 mg/g methanolic extract | 0.23 mg/g extract (infusion) | 0.22 mg/g extract (decoction)
|  | 5-O-Caffeoylquinic acid | 328 |  |  |  |  | 353 | [6 empty] | 191(100),179(14),173(6),135(21) | 0.83 mg/g methanolic extract | 0.49 mg/g extract (infusion) | 0.31 mg/g extract (decoction)
|  | Chicoric acid hexoside | 328 |  |  |  |  | 635 | [6 empty] | 473(90),455(29),341(82),311(3),293(44),219(10),179(100),149(7),135(15) | 1.74 mg/g methanolic extract | 0.62 mg/g extract (infusion) | 0.25 mg/g extract (decoction)
|  | trans-Caffeic acid | 322 |  |  |  |  | 179 | [6 empty] | 135(100) | 1.00 mg/g methanolic extract | 0.46 mg/g extract (infusion) | 0.32 mg/g extract (decoction)
|  | cis-Caffeic acid | 330 |  |  |  |  | 179 | [6 empty] | 135(100) | 0.60 mg/g methanolic extract | 0.31 mg/g extract (infusion) | 0.16 mg/g extract (decoction)
|  | Chicoric acid isomer | 328 |  |  |  |  | 473 | [6 empty] | 311(55),293(60),219(34),179(100),149(92),135(60) | 26.36 mg/g methanolic extract | 11.93 mg/g extract (infusion) | 2.86 mg/g extract (decoction)
|  | Chicoric acid isomer | 330 |  |  |  |  | 473 | [6 empty] | 311(55),293(47),219(28),179(94),149(100),135(54) | 5.68 mg/g methanolic extract | 1.90 mg/g extract (infusion) | 4.99 mg/g extract (decoction)
|  | 3,5-di-O-caffeoylquinic acid | 330 |  |  |  |  | 515 | [6 empty] | 353(100),191(75),179(56),173(5),161(6),135(21) | 0.48 mg/g methanolic extract | 0.11 mg/g extract (infusion) | 0.06 mg/g extract (decoction)
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Luteolin O-rutinoside | 350 |  |  |  |  | 593 | [6 empty] | 285(100) | 2.59 mg/g methanolic extract | 0.60 mg/g extract (infusion) | 0.53 mg/g extract (decoction)
|  | Luteolin 7-O-glucoside | 348 |  |  |  |  | 447 | [6 empty] | 327(6), 285(100) | 5.67 mg/g methanolic extract | 1.74 mg/g extract (infusion) | 0.75 mg/g extract (decoction)
| Flavonols | Quercetin O-pentosyl hexoside | 358 |  |  |  |  | 595 | [6 empty] | 463(40),301(15) | 0.48 mg/g methanolic extract | 0.40 mg/g extract (infusion) | 0.07 mg/g extract (decoction)
|  | Quercetin O-pentosyl hexoside | 358 |  |  |  |  | 595 | [6 empty] | 463(41),301(19) | 0.34 mg/g methanolic extract | 0.10 mg/g extract (infusion) | 0.02 mg/g extract (decoction)
|  | Quercetin O-hexoside-O-acetyl-dihexoside | 354 |  |  |  |  | 667 | [6 empty] | 505(40),463(29),301(10) | 0.17 mg/g methanolic extract | 0.06 mg/g extract (infusion) | 0.02 mg/g extract (decoction)
|  | Quercetin O-pentoside | 350 |  |  |  |  | 433 | [6 empty] | 301(100) | 0.22 mg/g methanolic extract | 0.06 mg/g extract (infusion) | 0.13 mg/g extract (decoction)
|  | Quercetin O-acetylhexoside | 346 |  |  |  |  | 505 | [6 empty] | 463(68),301(32) | 0.22 mg/g methanolic extract | 0.08 mg/g extract (infusion) | 0.04 mg/g extract (decoction)
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Triticum aestivum L.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | The LC system was equipped with an Agilent 1100 Series diode array and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser and a G1315B photo-diode array detector controlled by a ChemStation software (Agilent, v. 08.03). The mass detector was a G2445A ion-trap mass spectrometer equipped with an ESI system and controlled by LCMSD software (Agilent, v. 4.1). Nitrogen was used as nebulising gas at a pressure of 65 psi and the flow was adjusted to 11 L min−1. The heated capillary and voltage were maintained at 350 ◦C and 4 kV, respectively. The full scan mass covered the range from m/z 200 up to m/z 1500. | Collision-induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 up to 2 V. | Negative mode |  |  |  | leaves | Journal of Chromatography A, 1161 (2007) 214–223
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Apigenin-X-O-Hexoside-6-C-Hexoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 503 (7), 473 (40), 431 (41), 341 (5), 311 (100); MS3: 341 (11), 311 (100)
|  | Apigenin-X-O-Hexoside-2''-O-Rhamnoside-8-C-Hexoside |  |  | 740 |  |  | 739 | [6 empty] | MS2: 577 (100), 413 (10), 293 (5); MS3: 457 (5), 413 (100), 311 (5), 293 (77)
|  | Methyl-luteolin-X-O-Hexoside-8-C-Hexoside |  |  | 624 |  |  | 623 | [6 empty] | MS2: 533 (2), 503 (29), 461 (21), 371 (9), 341 (100); MS3: 341 (100)
|  | Methyl-luteolin-2''-O-Pentoside-6-C-Hexoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 503 (3), 473 (25), 443 (65), 371 (8), 353 (6,) 341 (6), 323 (100); MS3: 353(4) 323 (100)
|  | Luteolin-2''-O-Rhamnoside-6-C-Hexoside |  |  | 594 |  |  | 593 | [6 empty] | MS2: 503 (10), 473 (100), 429 (88), 357 (35), 339 (32), 327 (25), 309 (46); MS3: 339 (19), 309 (100)
|  | Methyl-luteolin-2''-O-Rhamnoside-6-C-Hexoside |  |  | 608 |  |  | 607 | [6 empty] | MS2: 487 (5), 443 (78), 371 (12), 353 (5), 341 (8), 323 (100); MS3: 353 (1), 323 (100)
|  | Luteolin-2''-O-Hexoside-6-C-Hexoside |  |  | 610 |  |  | 609 | [6 empty] | MS2: 489 (80), 429 (100), 357 (28,) 339 (8), 327 (26), 309 (51); MS3: 339(11) 309(100)
|  | Luteolin-X-O-Hexoside-2''-O-Rhamnoside-6-C-Hexoside |  |  | 756 |  |  | 755 | [6 empty] | MS2: 635 (1), 593 (100), 473 (3), 429 (8), 309 (3); MS3: 473 (100), 429 (11), 357 (5), 327 (19), 309 (4)
|  | Methyl-Luteolin-2''-O-Hexoside-C-Hexoside |  |  | 624 |  |  | 623 | [6 empty] | MS2: 503 (20), 443 (100), 371 (5), 353 (1), 341 (4), 323 (62): MS3: 353 (2), 323 (100)
|  | Luteolin-6''-O-Hexoside-6-C-Hexoside |  |  | 610 |  |  | 609 | [6 empty] | MS2: 357 (100), 339 (4), 327 (80)
|  | Methyl-Luteolin-6''-O-Hexoside-C-Hexoside |  |  | 624 |  |  | 623 | [6 empty] | MS2: 503 (4), 371 (22), 341 (100)
|  | Luteolin-2''-O-di-Hexoside-6-C-Hexoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 681 (20), 651 (30), 591 (15), 429 (100), 327 (52)
|  | Luteolin-6''-O-di-Glucoside-6-C-Glucoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 357 (100), 327 (90)
|  | Luteolin-2'',6''-di-O-Hexoside-6-C-Hexoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 591 (100), 489 (23), 357 (25), 339 (21), 327 (24), 309 (23); MS3: 339 (95), 309 (100)
|  | 2'', 6''-di-O-Hexoside-8-C-Hexoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 651 (8), 591 (20), 357 (53), 327 (100); MS3: 309 (100)
|  | Luteolin-2''-O-Rhamnoside-6''-O-Hexoside-6-C-Hexoside |  |  | 756 |  |  | 755 | [6 empty] | MS2: 591 (100), 473 (35), 357 (24), 339 (13), 327 (35,) 309 (29); MS3: 339 (56), 309 (100)
|  | Methyl-Luteolin-2''-O-Rhamnoside-6''-O-Hexoside-6-C-Hexoside |  |  | 770 |  |  | 769 | [6 empty] | MS2: 605 (100), 487 (20), 371 (6), 353 (15), 341 (6), 323 (63); MS3: 353 (17), 323 (100)
|  | Luteolin-X-O-Hexoside-2''-O-Pentoside-6-C-Hexoside |  |  | 742 |  |  | 741 | [6 empty] | MS2: 651 (11), 621 (55), 579 (100), 459 (12), 429 (21), 309 (7); MS3: 459 (74), 429 (60), 357 (100), 309 (54)
|  | Luteolin-X-O-Hexoside-2''-O-Hexoside-6-C-Hexoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 651 (30), 609 (100), 489 (10), 429 (16), 309 (15); MS3: 519 (30), 489 (47), 429 (100), 357 (32), 327 (14), 309 (51)
|  | Luteolin-X-O-Hexoside-2''-O-Hexoside-8-C-Hexoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 609 (100), 489 (4), 429 (16), 309 (17); MS3: 489 (18), 429 (100), 327 (8), 309 (11)
|  | Luteolin-X-O-Hexoside-6''-O-Hexoside-8-C-Hexoside |  |  | 772 |  |  | 771 | [6 empty] | MS2: 609 (100), 489 (3), 357 (12), 327 (100); MS3: 327 (100)
Flavonols
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Turnera diffusa Willd.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | [19 empty] | The LC system was equipped with an Agilent 1100 Series diode array and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser and a G1315B photo-diode array detector controlled by a ChemStation software (Agilent, v. 08.03). The mass detector was a G2445A ion-trap mass spectrometer equipped with an ESI system and controlled by LCMSD software (Agilent, v. 4.1). Nitrogen was used as nebulising gas at a pressure of 65 psi and the flow was adjusted to 11 L min−1. The heated capillary and voltage were maintained at 350 ◦C and 4 kV, respectively. The full scan mass covered the range from m/z 200 up to m/z 1500. Higher resolution and highest accurate mass determinations were achieved with an Agilent 1290 Infinity LC system coupled to the 6550 Accurate-Mass QTOF (Agilent Technologies, Waldbronn, Germany) with an electrospray interface (Jet Stream Technology). UK). The optimal conditions for the electrospray interface were 280 C gas temperature, 11 L/min drying gas, 45 psi nebulizer pressure, 400 C sheath gas temperature and 12 L/min sheath gas flow. The MS system operated in negative ion mode with the mass range set at m/z 50 and 1100 in full scan resolution mode | Collision-induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 up to 2 V. QTOF - Fragmentor voltage was established at 100 V and acquisition rate at 1.5 spectra/s. | Negative mode |  | Morais e Costa & CA. Lda (Porto, Portugal) |  | Leaves | Food and Chemical Toxicology 106 (2017) 466-476
Hydroxycinnamic acids (C6-C3) and derivatives
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol
| Flavones | Apigenin-6,8-di-C-glucoside | 334 | 270, 334 | 594 |  |  | 593.149 | [6 empty] | MS2: 503(35), 473(90), 383(80), 353(100)
|  | Acacetin-6,8-di-C-glucoside | 328 | 274, 328 | 608 |  |  | 607.1668 | [6 empty] | MS2: 517(50), 487(100), 397(35), 367(95)
|  | Luteolin-8-C-(2-rhamnosyl)glucoside | 348 | 255, 266sh, 348 | 594 |  |  | 593.149 | [6 empty] | MS2: 473(50), 429(40), 357(45), 327(100)
|  | Apigenin-8-C-(2-glucosyl)glucoside |  |  | 594 |  |  | 593.149 | [6 empty] | MS2: 473(12), 413(100), 293(50)
|  | Apigenin-8-C-(2-rhamnosyl)glucoside | 332 | 268, 332 | 578 |  |  | 577.1563 | [6 empty] | MS2: 457(5), 413(100), 293(45)
|  | Luteolin-8-C-(2-rhamnosyl)quinovoside | 348 | 256, 266, 292sh, 348 | 578 |  |  | 577.1563 | [6 empty] | MS2: 473(35), 413(40), 357(55), 327(100)
|  | Luteolin-6-C-(2-ketodeoxihexosyl)hexoside | 348 | 254, 266, 298sh, 348 | 592 |  |  | 591.1345 | [6 empty] | MS2: 471(70), 327(100)
|  | Luteolin-8-C-(2-ketodeoxihexosyl)hexoside |  |  | 592 |  |  | 591.1345 | [6 empty] | MS2: 575(100), 471(50), 327(50)
|  | Luteolin-8-C-(2-rhamnosyl)ketodeoxihexoside | 348 | 254, 266, 298sh, 348 | 576 |  |  | 575.1369 | [6 empty] | MS2: 411(100), 301(90), 285(30); MS3(411): 301(100), 285(40)
|  | Luteolin-8-C-(2-deoxihexosyl)ketohexoside |  |  | 592 |  |  | 591.136 | [6 empty] | MS2: 547(30), 473(30), 383(100), 311(35); MS3(383): 311(100)
|  | Luteolin-6-C-(2-rhamnosyl)ketodeoxihexoside |  |  | 592 |  |  | 591.137 | [6 empty] | MS2: 473(80), 327(100)
|  | Luteolin-6-C-(2-deoxihexosyl)ketohexoside | 340 | 268, 340 | 592 |  |  | 591.1348 | [6 empty] | MS2: 473(100) 427(6) 327(70)
|  | Myricetin-3-O-(6-glucosyl)glucoside | 355 | 255, 266sh, 305sh, 355 | 642 |  |  | 641.1312 | [6 empty] | MS2: 316(100)
|  | Apigenin-7-O-glucoside | 336 | 266, 336 | 432 |  |  | 431.0962 | [6 empty] | MS2: 269(100)
|  | Apigenin-7-O-(2-rhamnosyl)ketodeoxihexoside | 340 | 268, 340 | 560 |  |  | 559.1431 | [6 empty] | MS2: 395(100), 351(10), 321(20), 269(15); MS3(395): 351(30), 321(100), 269(60)
|  | Apigenin-7-O-(4''-p-E-coumaroyl)glucoside | 320 | 268, 320 | 578 |  |  | 577.1317 | [6 empty] | MS2: 431(10), 269(100)
|  | Apigenin-7-O-(6''-p-E-coumaroyl)glucoside | 318 | 268, 318 | 578 |  |  | 577.132 | [6 empty] | MS2: 431(1), 269(100)
|  | Apigenin-7-O-(6''-p-Z-coumaroyl)glucoside | 320 | 268, 320 | 578 |  |  | 577.132 | [6 empty] | MS2: 431(1), 269(100)
|  | Apigenin-7-O-(4''-p-Z-coumaroyl)glucoside | 318 | 268, 318 |  |  |  | 577.132 | [6 empty] | MS2: 431(30), 413(18), 269(100)
| Flavonols | Quercetin-3-O-(6-glucosyl)glucoside | 355 | 255, 266sh, 302sh, 355 | 626 |  |  | 625.1312 | [6 empty] | MS2: 301(100)
|  | Larycitrin-3-O-(6-glucosyl)glucoside | 358 | 254, 266sh, 306sh, 358 | 656 |  |  | 655.1485 | [6 empty] | MS2: 331(100)
|  | Quercetin-3-O-(6-rhamnosyl)glucoside | 354 | 255, 266sh, 301sh, 354 | 610 |  |  | 609.1461 | [6 empty] | MS2: 301(100)
|  | Quercetin-3-O-glucoside |  |  | 464 |  |  | 463.0869 | [6 empty] | MS2. 301(100)
|  | Isorhamnetin-3-O-(6-glucosyl)glucoside | 354 | 254, 266sh, 298sh, 354 | 640 |  |  | 639.1567 | [6 empty] | MS2: 315(100)
|  | Syringetin-3-O-(6-glucosyl)glucoside | 358 | 254, 266sh, 302sh, 358 | 700 |  |  | 699.1672 | [6 empty] | MS2: 345(100)
|  | Quercetin-3-O-(2-rhamnosyl)ketodeoxihexoside |  |  | 592 |  |  | 591.1355 | [6 empty] | MS2: 427(50), 301(100)
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics

## Trichilia catigua A. Juss.
Phenolic compound classes |  | Molecule | DAD data |  | Molecular weight | Molecular ion | Pseudomolecular |  |  |  | Multi-charged products |  | High resolution | Aducts | Main MS fragments (m/z) | Concentrations (individual compound) |  |  |  |  | Methodology |  |  | Cultivar/Variety | Sample origin | Season of collection | Plant part | Reference
|  |  | λ max (nm) | Espectro UV-vis |  | [M]+ (m/z) | [M+H]+ (m/z) | [M-H]- (m/z) | [2M+H]+ (m/z) | [2M-H]- (m/z) | [M-H]2- (m/z) | [M-H]3- (m/z) | exact (m/z) |  | Relative percentage (%) of the main fragment | Reference standards (DAD) | Reference standards (MS) | Internal standard | Extinction | Peak area | Equipment | Data acquisition methodology: spray voltage and collision energy | Ionization methodology (positive or negative mode and mass range)
Phenolic acids | Hydroxybenzoic acids (C6-C1) | 3-Methoxybenzoylquinic acid | 276 |  | 326 |  |  | 325.0935 | [6 empty] | MS2: 191(20), 151(100) | [5 empty] | The LC system was equipped with an Agilent 1100 Series diode array and a mass detector in series (Agilent Technologies, Waldbronn, Germany). It consisted of a G1312A binary pump, a G1313A autosampler, a G1322A degasser and a G1315B photo-diode array detector controlled by a ChemStation software (Agilent, v. 08.03). The mass detector was a G2445A ion-trap mass spectrometer equipped with an ESI system and controlled by LCMSD software (Agilent, v. 4.1). Nitrogen was used as nebulising gas at a pressure of 65 psi and the flow was adjusted to 11 L min−1. The heated capillary and voltage were maintained at 350 ◦C and 4 kV, respectively. The full scan mass covered the range from m/z 200 up to m/z 1500. Higher resolution and highest accurate mass determinations were achieved with an Agilent 1290 Infinity LC system coupled to the 6550 Accurate-Mass QTOF (Agilent Technologies, Waldbronn, Germany) with an electrospray interface (Jet Stream Technology). UK). The optimal conditions for the electrospray interface were 280 C gas temperature, 11 L/min drying gas, 45 psi nebulizer pressure, 400 C sheath gas temperature and 12 L/min sheath gas flow. The MS system operated in negative ion mode with the mass range set at m/z 50 and 1100 in full scan resolution mode | Collision-induced fragmentation experiments were performed in the ion trap using helium as collision gas, with voltage ramping cycles from 0.3 up to 2 V. QTOF - Fragmentor voltage was established at 100 V and acquisition rate at 1.5 spectra/s. | Negative mode |  | Morais e Costa & CA. Lda (Porto, Portugal) |  | Bark | Journal of Ethnopharmacology 211 (2018) 247–255
|  | 4-Methoxybenzoylquinic acid | 276 |  | 326 |  |  | 325.0937 | [6 empty] | MS2: 173(100), 151(10)
|  | 5-Methoxybenzoylquinic acid | 276 |  | 326 |  |  | 325.0936 | [6 empty] | MS2: 191(100)
| Hydroxycinnamic acids (C6-C3) and derivatives | 3-O-Caffeoylquinic acid | 325 | 295sh, 325 | 354 |  |  | 353.0904 | [6 empty] | MS2: 191(100), 179(55)
|  | 4-O-Caffeoylquinic acid | 326 | 296sh, 326 |  |  |  | 353.0906 | [6 empty] | MS2: 179(55), 173(100)
|  | 5-O-Caffeoylquinic acid | 326 | 297sh, 326 |  |  |  | 353.0899 | [6 empty] | MS2: 191(100)
|  | 4,5-di-O-Caffeoylquinic acid | 328 | 296sh, 328 |  |  |  | 515.1202 | [6 empty] | MS2: 353(100); MS3(353): 191(20), 179(80), 173(100)
Other phenylpropanoids (C6-C3)
Flavonoids | Flavan-3-ol | Catechin | 280 |  | 290 |  |  | 289.0747 | [6 empty] | MS2: 245(100), 205(30), 179(40)
|  | Procyanidin | 280 |  | 578 |  |  | 577.1353 | [6 empty] | MS2: 425(100), 407(65), 289(20)
|  | Epicatechin |  |  | 290 |  |  | 289.0747 | [6 empty] | MS2: 245(100), 205(40), 179(20)
|  | diHApocynin E type | 280 |  | 470 |  |  | 469.114 | [6 empty] | MS2: 315(15), 289(100), 245(10)
|  | diHApocynin E type | 280 |  | 470 |  |  | 469.1141 | [6 empty] | MS2: 315(10), 289(100), 245(5)
|  | Apocynin E type | 280 |  | 468 |  |  | 467.0994 | [6 empty] | MS2:357(100), 327(30), 217(25
|  | Apocynin E type | 282 |  | 468 |  |  | 467.0997 | [6 empty] | MS2:398(17), 357(100), 217(20)
|  | Apocynin E type | 281 |  | 468 |  |  | 467.0997 | [6 empty] | MS2:357(100), 217(60)
|  | Apocynin E type |  |  | 740 |  |  | 739.167 | [6 empty] | MS2:357(100), 217(20)
|  | Cinchonain II type | 280 |  | 740 |  |  | 739.1669 | [6 empty] | MS2:587(100), 449(30), 289(40)
|  | Cinchonain IIa | 280 |  | 740 |  |  | 739.1668 | [6 empty] | MS2:587(100), 449(60) ,289(30)
|  | Cinchonain IIb | 280 |  | 452 |  |  | 451.1048 | [6 empty] | MS2:587(100), 449(30), 289(25)
|  | Cinchonain Ia | 280 |  | 452 |  |  | 451.1052 | [6 empty] | MS2:341(100)
|  | Cinchonain I type | 282 |  | 452 |  |  | 451.105 | [6 empty] | MS2:341(100), 299(95)
|  | Cinchonain I type | 282 |  | 452 |  |  | 451.1051 | [6 empty] | MS2:341(50), 299(100)
|  | Cinchonain I type | 282 |  | 452 |  |  | 451.105 | [6 empty] | MS2:341(100), 299(5)
|  | Cinchonain I type | 282 |  | 452 |  |  | 451.1053 | [6 empty] | MS2:341(100)
|  | Cinchonain I type | 282 |  | 452 |  |  | 451.1052 | [6 empty] | MS2:341(100), 299(3)
|  | Cinchonain Ib | 281 |  | 452 | [9 empty] | MS2:341(100)
Flavones
Flavonols
Flavanones
Anthocyanins
Isoflavones
Dihydroflavonols
Biflavonoids
Chalcones
Flavonoid-derived products
Lignans (C6-C2)2
Coumarins (C6-C3)
Naphtoquinones (C6-C4)
Xanthones (C6-C1-C6)
Stilbenes (C6-C2-C6)
Anthraquinones (C6-C2-C6)
Polymeric polyphenols | Condensed tannins (proanthocyanidins) (C6-C3-C6)n
Hydrolysable tannins (gallotannins, ellagitannins)
Lignins (C6-C3)n
Phlorotannins
Phenolic aldehydes and simple phenolics